CE Eaton9PX 2014-08.docx

Declaration of Conformity

Manufacturer,

Eaton Industries France 110 rue Blaise Pascal 38330 Montbonnot Saint Martin France

declare under our sole responsibility that product family,

Eaton 9PX

Model(s) listed on page 2,

Product Description : Uninterruptible Power Supply (UPS)

provided that it is installed, maintained and used in the application intended for, with respect to the relevant manufacturers instructions, installation standards and “good engineering practices”,

complies with the provisions of Council directive(s):

2006/95/EC Low Voltage Directive

2004/108/EC EMC Directive

2011/65/EU RoHS - Restriction of Hazardous Substances

CE mark affixed on the product in 2013, based on compliance with European standards:

EN 62040-1 : 2008

Uninterruptible power systems (UPS) - Part 1: General and safety requirements for UPS EN 62040-2 : 2006

Uninterruptible power systems (UPS) - Part 2: Electromagnetic compatibility (EMC) requirements EN 50581 : 2012

Technical documentation for the assessment of electrical and electronic products with respect to the restricts of hazardous substances



Powering Business Worldwide

Date : 29/08/2014



Nicolas Samman Engineering Director

The declaration of conformity applies to the following types within the product family:

|  |  |  |
| --- | --- | --- |
| Eaton 9PX | Part Number  9PX5KiBP | **Description**  Eaton 9PX 5000i HotSwap |
| Eaton 9PX | 9PX5KiRTN | Eaton 9PX 5000i RT3U Netpack |
| Eaton 9PX | 9PX5K | Eaton 9PX 5000 RT3U Netpack NEMA |
| Eaton 9PX | 9PXM lOKiRTN | Eaton 9PX lOKi 5Ki Redundant RT9U Netpack |
| Eaton 9PX | 9PX6KiBP | Eaton 9PX 6000i HotSwap |
| Eaton 9PX | 9PX6KiRTN | Eaton 9PX 6000i RT3U Netpack |
| Eaton 9PX | 9PX6K | Eaton 9PX 6000 RT3U Netpack NEMA |
| Eaton 9PX | 9PX6KiBP31 | Eaton 9PX 6000i 3:1 HotSwap |
| Eaton 9PX | 9PX6KiRTNBP31 | Eaton 9PX 6000i 3:1 RT6U HotSwap Netpack |
| Eaton 9PX | 9PX6KiPM31 | Eaton 9PX 6000i 3:1 Power Module |
| Eaton 9PX | 9PXM 12KiRTN | Eaton 9PX 12Ki 6Ki Redundant RT9U Netpack |
| Eaton 9PX | 9PX8KiBP | Eaton 9PX 8000i HotSwap |
| Eaton 9PX | 9PX8KiRTNBP | Eaton 9PX BOOOi RT6U HotSwap Netpack |
| Eaton 9PX | 9PX8KiPM | Eaton 9PX BOOOi Power Module |
| Eaton 9PX | 9PX8K | Eaton 9PX 8000 RT6U Netpack 208V |
| Eaton 9PX | 9PX8KiBP31 | Eaton 9PX BOOOi 3:1 HotSwap |
| Eaton 9PX | 9PX8KiRTNBP31 | Eaton 9PX 80001 3:1 RT6U HotSwap Netpack |
| Eaton 9PX | 9PX8KiPM31 | Eaton 9PX 8000i 3:1 Power Module |
| Eaton 9PX | 9PXM16KiRTN | Eaton 9PX 16Ki 8Ki Redundant RT15U Netpack |
| Eaton 9PX | 9PX1 IKiBP | Eaton 9PX 11 OOOi HotSwap |
| Eaton 9PX | 9PX1 IKiRTNBP | Eaton 9PX 11000) RT6U HotSwap Netpack |
| Eaton 9PX | 9PX1 IKiPM | Eaton 9PX 1 lOOOi Power Module |
| Eaton 9PX | 9PX11K | Eaton 9PX 11000 RT6U Netpack 208V |
| Eaton 9PX | 9PX11 KiBP31 | Eaton 9PX 1 lOOOi 3:1 HotSwap |
| Eaton 9PX | 9PX11 KiRTNBP31 | Eaton 9PX 1 lOOOi 3:1 RT6U HotSwap Netpack |
| Eaton 9PX | 9PX1 lKiPM31 | Eaton 9PX 1 lOOOi 3:1 Power Module |
| Eaton 9PX | 9PXM22KiRTN | Eaton 9PX 22Ki 11 Ki Redundant RT15U Netpack |
| Eaton 9PX Battery Module | 9PXEBM180 | Eaton 9PX EBM 180V |
| Eaton 9PX Battery Module | 9PXEBM240 | Eaton 9PX EBM 240V |
| Eaton 9PX Battery Module | 9PXEBM240RT | Eaton 9PX EBM 240V RT |
| Eaton 9PX Battery Module | 9PXEBM240NB | Eaton 9PX EBM 240V Empty |
| Eaton HotSwap MBP | MBP6Ki | Eaton HotSwap MBP 6000i |
| Eaton HotSwap MBP | MBPIlKi | Eaton HotSwap MBP 1 lOOOi |
| Eaton HotSwap MBP | MBP1 lKi31 | Eaton HotSwap MBP 1 lOOOi 3:1 |
| Eaton 9PX ModularEasy | 9PXMEZ6Ki | Eaton 9PX ModularEasy 6000i |
| Eaton 9PX ModularEasy | 9PXMEZ1 IKi | Eaton 9PX ModularEasy 11 OOOi |
| Eaton Accessories | SC240RT | Eaton Supercharger 240VDC |
| Eaton Accessories | SC240RT6A | Eaton Supercharger 240VDC 6A |
| Eaton Accessories | TFMR1 IKi | Eaton Transformer 1 lOOOi |
| Eaton 9PX Accessories | 9PXPPDM1 | Eaton Transformer & Maintenance Bypass NEMA |
| Eaton 9PX Accessories | 9PXPPDM2 | Eaton Transformer & Maintenance Bypass HW |
| Eaton 9PX Accessories | 9PXTFMR5 | Eaton Transformer Stepdown |
| Eaton 9PX Accessories | 9PXTFMR11 | Eaton Transformer Stepdown |



Powering Business Worldwide Page 2/2