
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 |

{L) ~ 324.5 ~ 640.5

-117.0-




29.5 Ml. 5-

lo

"4-

Cv]



565.0

■452.0


-400.0

1-0

ro

c-vi

cp



570.0

780.0

# VISTA LATERAL IZQUIERDA LEFT SIDE VIEW

■500.0 900.0 ~ 450.0

1850.0

# VISTA FRONTAL FRONT VIEW

# VISTA LATERAL DERECHA RIGHT VIEW

COTAS TOTALES / OVERALL DIMEN : W-780.L-I850, H-1500 CAPACIDAD DEL DEPOSITO / TANK CAPACITY : 120 LITRES

# DETALLE BRIDA MOTOR / DETAIL EXHAUST FLANGE

# NOTAS / NOTES

1. **FIJACION GRUPO / FLOOR TO FASTENING (4x016mm)**
2. **SALIDA ESCAPE / EXHAUST OUTLET 040 mm**
3. **OPCIONAL / OPTIONAL**

50.0



**-—40.0 - - 40.0—** ESCALA / SCALE : 1/3

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Motor/Engine** | **Alternador/Alternator** | **Modelo Alter. / Alternator model** | **L** | |
| WITHOUT  PMG | WITH  PMG |
| **4TNV98 GGE** | **STAMFORD** | **BCI184G** | **521.5** | **-** |
|  | **STAMFORD** | **BCI 184J** | **654.5** | **-** |
|  | **MARELLI** | **MJB160MB4** |  |  |
|  | **MARELLI** | **MJB200SA4** |  |  |
|  | **MECCALTE** | **EC028 VL/4** |  |  |
|  | **HIMOINSA** | **HA 200 SAA** |  |  |
|  | **SYNCRO** | **IB4** |  |  |

**HIMQINSA**

**THE ENERGY**



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Date: | Name: |  | Old Code: | | |
| Designed: | 09/1 2/1 O | A. MARTINEZ |  | New Code: | | |
| Revised: | 09/1 2/1 O | IS/I. URREA |  | The actual design Is HIMOINSA S.L property. It con not be used for construction of the showed item, |  |  |
| Approved: | 09/1 2/1 O | A. PARDO |  | L— ^ | y |

DESIGNACION / DESIGNATION:



GRUPO ELECTROGENO EST-STD / OPEN SKID GENSET MOTOR/ENGINE: YANMAR 4TNV98 GGE CHASIS MODELO / BASE FRAME: K3

Drawing Ne:

|  |  |  |
| --- | --- | --- |
| Code: **GEE-00015-K3** | | |
| Revision: **01** | | DIN- A3 |
| Unit: mm | 1/15 | |